## Slide 1: Installation

## Slide 2: Project Estimating
Three General Approaches
  Plan-Spec
  Design Build
  Design Assist
Common Need
  Equipment to be controlled
  Point List
    Metadata – location
    Type

## Slide 3: Project Estimating
Common Need
  What manufacturer / type of system (BACnet, LON)
  Point List
    Spec – Tolerances, Type of signals, etc
    Data Logging – Frquency, retention
    Location
    Virtual
      Integration or networked
      protocol
    Guideline 36 needs
    Installation method – strap-on, well, conduit, etc.
    Installation conditions – local codes, IBC, UBC, etc.
    Manufacturer – ala Bid Tracer

## Slide 4: Project Estimating
Project schedule
  Milestones needed
  Integration coordination
Role responsibility
  Sales or estimator

## Slide 5: Bidding
Standard Bidding Form
  Detailed point by point
Bidding breakouts
  Different equipment – (i.e. lights vs HVAC) as an example
  Format to easier evaluate
  Breakout by significant systems
Feedback after the bid
  Push back into the model
Role responsibility - Sales

## Slide 6: Submittals
Critical feedback moment
  BOM
  Data sheets
  Control Dwgs / Diagrams
  System Architecture
  Sequence of Ops
    GPC 36 based, where possible
    Modified based on conditions or exceptions – redlines
  Schedule / Milestones for submission / approval
  Role Responsibility – Engineering and/or Project Manager

## Slide 7: Installation
Based on approved submittals
  Metadata provides most data
Coordination with other trades & 3rd party systems
Programming
  Flow diagram provided by CDL
  Role responsibility – Programmer / engineer
Installation – conduit, wire, modules, etc.
  Role responsibility – PM, electrician, tech
Start-up/Testing/Commissioning
  Role responsibility – Tech and/or PM
Commissioning Agent
  Test plans
  Records
  Role responsibility – Tech and/or PM
As-builts